Frequently asked questions under local open procedure **(**2007CB16IPO006-2011-2-171-1)

Contract title: Execution of works on the site “Reconstruction of the city stadium in Rila”

Contracting Authority: Municipality of Rila.

|  |  |
| --- | --- |
| Questions | Answer |
| Should the consortium contract and other copies of documents be officially translated by a sworn translator? | 10.2 from IT: It is strongly recommended to provide a translation of the supporting documents into the language of the call for tenders. The documents may be in free translation. |
| Which stamp can we use when certify copies of documents-“true copy” or “вярно с оригинала“? | Both options are applicable. |
| What is the type of contract-global price, unit-price or hybrid? | It is a unit-price contract. See art.49.1(b) from the Special conditions of the Contract. |
| What is the currency in the Volume 4-Bill of quantities? | The currency of the tender ,f financial offer and Bill of Quantities is EURO. |
| Should we describe in Detailed breakdown of prices every unit from BQ or BQ on the whole? | Every unit of BQ must be described. |
| Is the site powered by electric energy and water supply network? | The site Is not powered by electric energy. During the construction a temporary account for electric power will be provided. There is not an existing water supply deviation. The foreseen rain and drainage system is approved by the regional utility company. |
| Where it is foreseen transportation of building waste and land masses? | The building waste and land masses will be transported to the Municipality`s waste disposal site. |