APPROVED,

MAYOR:

……………………..

(Georgi Kabzimalski)

MINUTES OF SITE VISIT & INFORMATION MEETING

10/02/2014

Contract  Title: Execution of works on the site “Reconstruction of the city stadium in Rila”

- Publication reference No BG2007CB16IPO006-2011-2-171-1.

The Contract Notice and Tender Dossier were published on and on the official internet site of the Rila Municipality www.rila-grad.bg  and on the site  of  IPA CB Programme Bulgaria-Serbia on 07/01/2014.

The summary for the tender procedure was published  the national daily newspaper  “STANDART” on 07/01/2014.

The information meeting and a site visit were  held on 10/02/2014  in the town of Rila.

Representatives of 2 (two) companies (Consortium “Rila Arena” and  ”Meridian” LTD) attend the events.

The company representatives were briefly informed about the site visit programme and were transported to the project area at 11:00 a.m. – the city stadium in the town of Rila.

The tenderers were informed about the main types of works, included in the project, namely:

- I.	Part Architecture”.

- The old stands (tribunes) will be destroyed and new ones will be constructed of reinforced concrete with metal railing and PVC seats. All passages for the public from the entrance to the stands are designed to be filled with pavement tiles restricted with concrete curbs. To ensure access for fire trucks, ambulances and other vehicles to the stadium there will be provided installation of reinforced concrete pavement. The grass will be renovated. The tracks will be reconstructed and a new layer with ceramic tiles will be will be filled up.

- II.	Part “Construction „There are provisions for construction of new stands and a new steel picket fence with chain link fence with PVC coating. To this project`s estimated documentation is treated only building of stands.

- The structure of the stands is reinforced concrete. The first and last rows of the stands are strengthened with reinforced concrete walls, build over a strip foundation.

- III. Irrigation system

- The irrigation system is used to distribute uniform and equal amount of water around the whole terrain. The whole field is divided into 12 zones, in each zone there are two (2) sprinklers working under the same angle with the same work time. The sprinklers are from the type sinking hydrants.

- IV.Sewerage and drainage system

- It is measured so that it thoroughly drains the terrain without absorbing natural underground water and to further dry the terrain. All water absorbed through the drainage system shall be borne by the sewage system, as that is discharged into 100 m3 reservoir.

After the site visit the participants were invited to the Municipality premises again to take their site visit certificates and to take part in the information meeting.

The information meeting starts at 14:00 in the administrative hall of the municipality administrative building.

The following points and clarifications which require to be taken into consideration during submission of tenders have been emphasized by the representatives of the Municipality of Rila:

-The tender dossier is published on web-site of the contracting authority-www.grad-rila.bg and on IPA CB Programme Bulgaria-Serbia  and the participants are suggested to follow up these websites in order to be informed regarding the progress of the tender process;

### - (p.8.1from Instructions to tenderers) Tenderers may submit questions in writing up to 21 days before the deadline for submission of tenders, specifying the publication reference and the contract title:

Contact Names:Mrs Vyara Ilkova- Project manager, Municipality of Rilaand Mrs Elena Pancheva- jurisconsult, Municipality of Rila.

Address: The town of Rila 2630,Region of Kyustendil, 1 “Vazrajdane” sq., Republic of Bulgaria

Fax: Not Applicable, E-mail: rilamunicipality@gmail.com,  elena.pancheva2012@gmail.com

### - The reconstruction of the existing building and dressing rooms in the city stadium are not included in the present project.

### -The transit of heavy loaded trucks through the central part of the town is prohibited unless the Municipality issues an explicit permit for this. Bearing in mind the bad situation of the streets and densely inhabited region, the Municipality keeps the right to establish regime of limitations for the streets that serve the soil depository.

### The Contractor shall develop a Plan for Organization of Transit and Signalization on and around the Construction Site. This Plan shall be submitted for approval to Traffic Police at the town of Rila and after it shall be distributed between Municipal Administration, Regional Fire Brigade, and Medical Emergency to inform them about the periods and intervals of street closures or limited access to certain streets.

### The Plan for the traffic organization should be prepared and submitted to the Construction Supervisor and the Employer before signing of Act No.2 for Opening of Construction Site.

### -All requirements to execution of different type of works are described in the Technical specifications- annex d4u_techspec_en/Volume 3 of the tender dossier.

### -The drawings and technical documentation are available for examination every working day in the premises of the Rila municipality.

### -as specified in p. 12.1.14 all tenders must include the site visit certificate. Tender which does not contain a site visit certificate will be rejected.

### After the meeting, the participants received their certificates.

Prepared by:

Vyara Ilkova

Project manager